NPS DSC Division 1 Specifications
Instructions & Table of Contents

National Park Service (NPS) - Denver Service Center (DSC) | 3-20-25

# Instructions

- For each project, create a unique set of Division 1 Specifications.

- Download latest version of NPS DSC Division 1 Specifications.

- Display hidden blue notes by clicking Microsoft Word's Show/Hide icon:  (Home ribbon > Paragraph group).

- Federal Acquisition Regulation - FAR 2.101 states, "Day means, unless otherwise specified, a calendar day." Please work with the team and be mindful of intended work weeks (4,5,6, or 7). Consider 7 day increments for a week so notices and such would require 7, 14, 21 etc. days notice.

- Format edits for final approval:

  - Use strikethrough for deletes.

  - Use yellow highlight for additions.

- Format edits after final approval for Final Construction Documents (CD):

  - Remove strikethrough and yellow highlights.

# Table of Contents (TOC)

01 11 00	Summary of Work

01 26 01	Contract Modification Procedures

01 27 00	Definition of Contract Line Items

01 31 00	Project Management and Coordination

01 32 16	Construction Schedule

01 32 33	Photographic Documentation

01 33 23	Submittal Procedures

01 35 13.22	Archeological Protection

01 35 23	Safety Requirements

01 35 25	Explosives

01 35 91	Historic Preservation Treatment Procedures

01 40 00	Quality Requirements

01 42 00	Reference Standards

01 50 00	Temporary Facilities and Controls

01 57 19.11	Indoor Air Quality (IAQ) Management

01 57 19.12 	Noise and Acoustics Management

01 57 23	Temporary Storm Water Pollution Prevention (SWPP), Under-an-Acre Pollution Prevention (UPP)

01 67 00	Product Requirements

01 73 29	Cutting and Patching

01 73 40	Execution

01 74 19	Construction Waste Management and Disposal

01 77 00	Closeout Procedures

01 78 23	Operation and Maintenance (O&M) Data

01 79 00	Demonstration & Training

01 91 14	Total Building Commissioning

# Supporting Documents

Submittal List Template (01 33 23)

Closeout and Operation & Maintenance (O&M) Requirements Template & Sample (01 77 00, 01 78 23, 01 79 00)

Project Waste Management Plan Worksheet Sample (01 74 19)