NPS DSC Division 1 Specifications

National Park Service (NPS) - Denver Service Center (DSC) | 1-27-21

By using NPS DSC Division 1 Specifications, you acknowledge you read, understand,
and will format edits according to NPS DSC Division 1 Specifications Instructions.

<Insert Park and Project Management Information System (PMIS) number>

SECTION 01 32 33 – PHOTO DOCUMENTATION

Specification is also intended for use on Historic Preservation projects. Edit with specific requirements accordingly.

GENERAL

SUMMARY

Section includes administrative and procedural requirements for:

Adjust list below to suit Project.

Existing condition images

Periodic construction images

See Section 01 77 00 "Closeout Procedures" for a complete listing of closeout documents.

See Section 01 79 00 "Demonstration and Training" for submitting videotapes of demonstration of equipment and training of National Park Service (NPS) personnel.

SUBMITTALS

Construction Images: Submit images electronically within [seven] <Insert number> days of taking the image. Include:

Date, time and number (sequentially number all images) in filename.

Description of vantage point, indicating location, direction (by compass point), and elevation or story of construction.

Submit digital images exactly as originally recorded in digital camera, without alteration, or modifications using image-editing software.

Closeout: Submit complete set of digital image electronic files as a Project Record Document. Submit on Digital Video Disc (DVD).

Provide index as separate file on Disc. List each image as a file name with number, date, and time. Include description and or vantage point image was taken.

Submit images that have the same aspect ratio as the sensor, un-cropped.

PRODUCTS

FORMAT REQUIREMENTS

Format should be compatible with all digital cameras.

Media: DVD-R Archival Gold

Media Labels: Archival DVD labeling markers, archival labels, or direct print.

Images: Provide sRGB (standard Red Green Blue) color images in JPEG (Joint Photographic Experts Group) format. Minimum sensor size of [8] <Insert minimum sensor size> megapixels, and at image resolution of not less than [3200 by 2400] [1600 by 1200], and 300 dpi (dots per inch).

EXECUTION

CONSTRUCTION IMAGES

General: Take digital images using the maximum range of depth of field, in-focus, to clearly show the Work. No blurry or out-of-focus areas accepted.

Maintain index with each set of Construction images and identify the number, date, time, and description for each.

Maintain one set of images accessible in field office at Project site available for reference.

Existing Condition Images: Before [commencement of excavation] [commencement of demolition] [starting construction], take color digital images of Project site and surrounding properties, including existing items to remain during construction, from different vantage points.

Flag [excavation areas] [construction limits] before recording construction images.

Take [eight] <Insert number> separate images to show existing conditions adjacent to property before starting Work.

Take [eight] <Insert number> separate images of existing buildings either on or adjoining property to accurately record physical conditions at start of construction.

Periodic Construction Images: Take [12] <Insert Number> color, digital images [monthly, coinciding] [weekly, with timing each month adjusted to coincide] <Insert time interval> with cutoff date associated with each Application for Payment. Select vantage points to show status of construction and progress since last images were taken.

Additional Images: Contracting Officer may issue requests for additional images.

Three days advance, where feasible.

In emergency situations, take additional images within 24 hours of request.

Additional images include, but are not limited to:

List below is an example only. Revise to suit Project.

Immediate follow-up when on-site events result in construction damage or losses.

Fabrication locations away from Project site.

Substantial Completion of a major phase or component of Work.

Extra record images at time of final acceptance.

END OF SECTION 01 32 33