## Template
Closeout and Operation & Maintenance (O&M) Requirements Template
National Park Service (NPS) - Denver Service Center (DSC) ¦ 1-27-21
Topic | Specification Section | Requirement | Submittal Date | Completed | Received by Park
Project Record
Drawings
System
Demonstration
and Training
Tools
Spare Parts
Equipment
Extra Stock
Reports
Keys & Keying
Schedule
O&M Data
Warranties
Guarantees

## Sample
Closeout and Operation & Maintenance (O&M) Requirements Sample
National Park Service (NPS) - Denver Service Center (DSC) ¦ 1-27-21
Topic | Specification Section | Requirement | Submittal Date | Completed | Received by Park
| 1770 | Final Project Record Drawings.
Project Record
Drawings
| 15900 | Mechanical equipment control system DDC (Direct Digital Control) training.
System | 16720 | Fire alarm system demonstration.
Demonstration | 17000 | Telecommunications system training.
and Training
| 2515 | Two curb stop wrenches with T-handles seven feet in length.
Tools | 2512 | One six inch gate valve (type used on water main).
Spare Parts | 2531 | One ten horsepower grinder pump (type and configuration as specified).
Equipment
| 9870 | Two gallons of wall paint (forest green). One gallon of trim paint (battleship grey).
Extra Stock | 10800 | Twelve each of wall and floor tiles used in the restrooms.
| 7540 | EIP and PVC (Ethylene-Interpolymer and Polyvinyl Chloride) Thermoplastic roofing manufacturer's inspection report.
| 7532 | Renovation of CSPE (Chlorosulfonated Polyethylene Polymer) membrane roofing, manufacturer's inspection report.
Reports | 15680 | HVAC (heating, ventilation & air conditioning) Test and balance report.
| 8710 | Instructions for cylindrical lock sets, door closers, and panic exit devices.
Keys & Keying | 8711 | Instructions for card key lock system and software.
Schedule | 8710 | Keying schedule.
| 2512 | Gate valves, O&M data for gate and post indicator valves.
O&M Data | 2515 | O&M data for water meter.
Warranties | 2517 | O&M data for fire hydrants.
Guarantees | 7511 | Built-up asphalt roofing with five year guarantee.
| 7620 | Flashing and sheet metal with five year guarantee.
| 7810 | Tubular skylights with ten year manufacturer's guarantee.
| 8211 | Flush wood doors with manufacturer's two year guarantee.
| 9680 | Kowski carpet with five year warranty.
| 15480 | O&M data for propane water heater.
| 15733 | Air cooled air condition units with manufacturer's five year guarantee on compressor and two year warranty on refrigerant loss.